## sheet1
cat | name | alternative_name | size | price_buy | currency_buy | price_sell | supplier | description | specifications | additional_information | storage_and_shipping | notes
11.PPA.K.3/2 | INgezim PPA COMPAC | Assay for detection of antibodies to African Swine Fever virus (ASFV) | 192 tests (2X 96 wells plate) | 264.8 | EUR | 408 | Eurofins-technologies | Blocking immunoenzymatic assay for detection of antibodies to African Swine Fever virus (ASFV) in porcine serum. | Kit components: 96 Well microtitration coated plates(divided in 12 strips of 8 wells each); Vials with inactivated positive control serum; Vials with peroxidasa conjugate 100x concentrated; Bottles with conjugate diluent (DE01-1)ready to use; Bottles with serum diluent (DE31-1) ready to use; Bottles with Substrate (TMB); Bottles with Stop Solution | 1. Read carefully the instructions for use. 2. Bring all reagents to room temperature (20°-25°C) prior to use. 3. Do not mix instructions or reagents from different kits. 4. Avoid any contamination of the reagents of the Kit. 5. Do not use components after expiration dates and do not mix components from different lots. 6. There should be no eating, drinking, or smoking where specimens or Kit reagents are being handle 7. Do not pipette by mouth. 8. Use a new tip for each serum sample. 9. For each utilisation of the Kit, positive and negative control sera must be tested in a systematic way. 10. Substrate must by handle whit care, it is very sensible to light and contamination. 11. Stop solution is a strong acid. Handle with care. | Store all plates and reagents between +2ºC and +8ºC. Once opened, control sera are stable for one month between +2ºC and +8ºC. In case that they are not going to be used in this period, we recommend to store them under –20ºC | This product should be used only by trained staff and in an appropriate laboratory setting.
11.PPA.K.3/5 | INgezim PPA COMPAC | Assay for detection of antibodies to African Swine Fever virus (ASFV) | 480 tests (5X 96 wells plate) | 507.2 | EUR | 735 | Eurofins-technologies | Blocking immunoenzymatic assay for detection of antibodies to African Swine Fever virus (ASFV) in porcine serum. | Kit components: 96 Well microtitration coated plates(divided in 12 strips of 8 wells each); Vials with inactivated positive control serum; Vials with peroxidasa conjugate 100x concentrated; Bottles with conjugate diluent (DE01-1)ready to use; Bottles with serum diluent (DE31-1) ready to use; Bottles with Substrate (TMB); Bottles with Stop Solution | 1. Read carefully the instructions for use. 2. Bring all reagents to room temperature (20°-25°C) prior to use. 3. Do not mix instructions or reagents from different kits. 4. Avoid any contamination of the reagents of the Kit. 5. Do not use components after expiration dates and do not mix components from different lots. 6. There should be no eating, drinking, or smoking where specimens or Kit reagents are being handle 7. Do not pipette by mouth. 8. Use a new tip for each serum sample. 9. For each utilisation of the Kit, positive and negative control sera must be tested in a systematic way. 10. Substrate must by handle whit care, it is very sensible to light and contamination. 11. Stop solution is a strong acid. Handle with care. | Store all plates and reagents between +2ºC and +8ºC. Once opened, control sera are stable for one month between +2ºC and +8ºC. In case that they are not going to be used in this period, we recommend to store them under –20ºC | This product should be used only by trained staff and in an appropriate laboratory setting.
13.BM.K.1/2 | INgezim BRUCELLA SMALL RUMINANTS | Assay for specific detection of serum antibodies to Brucella ovis in ram’s serum | 192 tests (2X 96 wells plate) | 242.4 | EUR | 378 | Eurofins-technologies | Indirect immunoenzymatic assay for specific detection of serum antibodies to Brucella in ovine and caprine samples. | Kit components: 96 well microtitration plates divided in strips (12 x 8); Vials containing Positive Control sera; Vials containing Negative Control sera; Vials with conjugate 100x concentrated (MAb peroxidase conjugated); Bottles with washing solution 25x concentrated; Bottles containing diluent (DE01-05), 5x concentrated; Bottles containing substrate (TMB) ready to use; Bottles containing stop solution | 1. Read carefully the instructions for use. 2. Bring all reagents to room temperature (20°-25°C) prior to use. 3. Do not mix instructions or reagents from different kits. 4. Avoid any contamination of the reagents of the Kit. 5. Do not use components after expiration dates and do not mix components from different lots. 6. There should be no eating, drinking, or smoking where specimens or Kit reagents are being handle 7. Do not pipette by mouth. 8. Use a new tip for each serum sample. 9. For each utilisation of the Kit, positive and negative control sera must be tested in a systematic way. 10. Substrate must by handle whit care, it is very sensible to light and contamination. 11. Stop solution is a strong acid. Handle with care. | Store all plates and reagents between +2ºC and +8ºC. Once opened, control sera are stable for one month between +2ºC and +8ºC. In case that they are not going to be used in this period, we recommend to store them under –20ºC | This product should be used only by trained staff and in an appropriate laboratory setting.
13.BM.K.1/5 | INgezim BRUCELLA SMALL RUMINANTS | Assay for specific detection of serum antibodies to Brucella ovis in ram’s serum | 480 tests (5X 96 wells plate) | 463.2 | EUR | 676 | Eurofins-technologies | Indirect immunoenzymatic assay for specific detection of serum antibodies to Brucella in ovine and caprine samples. | Kit components: 96 well microtitration plates divided in strips (12 x 8); Vials containing Positive Control sera; Vials containing Negative Control sera; Vials with conjugate 100x concentrated (MAb peroxidase conjugated); Bottles with washing solution 25x concentrated; Bottles containing diluent (DE01-05), 5x concentrated; Bottles containing substrate (TMB) ready to use; Bottles containing stop solution | 1. Read carefully the instructions for use. 2. Bring all reagents to room temperature (20°-25°C) prior to use. 3. Do not mix instructions or reagents from different kits. 4. Avoid any contamination of the reagents of the Kit. 5. Do not use components after expiration dates and do not mix components from different lots. 6. There should be no eating, drinking, or smoking where specimens or Kit reagents are being handle 7. Do not pipette by mouth. 8. Use a new tip for each serum sample. 9. For each utilisation of the Kit, positive and negative control sera must be tested in a systematic way. 10. Substrate must by handle whit care, it is very sensible to light and contamination. 11. Stop solution is a strong acid. Handle with care. | Store all plates and reagents between +2ºC and +8ºC. Once opened, control sera are stable for one month between +2ºC and +8ºC. In case that they are not going to be used in this period, we recommend to store them under –20ºC | This product should be used only by trained staff and in an appropriate laboratory setting.
13.BO.K.1/2 | INgezim BRUCELLA ovis | Assay for specific detection of serum antibodies to Brucella ovis in ovine and caprine samples | 192 tests (2X 96 wells plate) | 256 | EUR | 396 | Eurofins-technologies | Indirect immunoenzymatic assay for specific detection and/or titration of serum antibodies to Brucilla ovis in ram’s serum | Kit components: 96 well microtitration plates divided in strips (12 x 8), Vials containing Positive Control sera, reasy to use, Vials containing Negative Control sera, ready to use, Vials with conjugate 100x concentrated (MAb peroxidase, Bottles with washing solution 25x concentrated conjugated), Bottles containing diluent (DE14-01), Bottles containing substrate (TMB) ready to use, Bottles containing stop solution | 1. Read carefully the instructions for use. 2. Bring all reagents to room temperature (20°-25°C) prior to use. 3. Do not mix instructions or reagents from different kits. 4. Avoid any contamination of the reagents of the Kit. 5. Do not use components after expiration dates and do not mix components from different lots. 6. There should be no eating, drinking, or smoking where specimens or Kit reagents are being handle 7. Do not pipette by mouth. 8. Use a new tip for each serum sample. 9. For each utilisation of the Kit, positive and negative control sera must be tested in a systematic way. 10. Substrate must by handle whit care, it is very sensible to light and contamination. 11. Stop solution is a strong acid. Handle with care. | Store all plates and reagents between +2ºC and +8ºC. Once opened, control sera are stable for one month between +2ºC and +8ºC. In case that they are not going to be used in this period, we recommend to store them under –20ºC | This product should be used only by trained staff and in an appropriate laboratory setting.
13.BO.K.1/5 | INgezim BRUCELLA ovis | Assay for specific detection and/or titration of serum antibodies to Brucilla ovis in ovine and caprine samples | 480 tests (5X 96 wells plate) | 485.6 | EUR | 706 | Eurofins-technologies | Indirect immunoenzymatic assay for specific detection and/or titration of serum antibodies to Brucilla ovis in ram’s serum | Kit components: 96 well microtitration plates divided in strips (12 x 8), Vials containing Positive Control sera, reasy to use, Vials containing Negative Control sera, ready to use, Vials with conjugate 100x concentrated (MAb peroxidase, Bottles with washing solution 25x concentrated conjugated), Bottles containing diluent (DE14-01), Bottles containing substrate (TMB) ready to use, Bottles containing stop solution | 1. Read carefully the instructions for use. 2. Bring all reagents to room temperature (20°-25°C) prior to use. 3. Do not mix instructions or reagents from different kits. 4. Avoid any contamination of the reagents of the Kit. 5. Do not use components after expiration dates and do not mix components from different lots. 6. There should be no eating, drinking, or smoking where specimens or Kit reagents are being handle 7. Do not pipette by mouth. 8. Use a new tip for each serum sample. 9. For each utilisation of the Kit, positive and negative control sera must be tested in a systematic way. 10. Substrate must by handle whit care, it is very sensible to light and contamination. 11. Stop solution is a strong acid. Handle with care. | Store all plates and reagents between +2ºC and +8ºC. Once opened, control sera are stable for one month between +2ºC and +8ºC. In case that they are not going to be used in this period, we recommend to store them under –20ºC | This product should be used only by trained staff and in an appropriate laboratory setting.
12.BVD.K.2 | INgezim BVD DAS | Assay for Bovine viral diarrhoea virus p80/p125 antigen detection | 96 tests (1X 96 wells plate) | 268.8 | EUR | 413 | Eurofins-technologies | Double antibody sandwhich immunoenzymatic assay for Bovine viral diarrhoea virus p80/p125 antigen detection in blood, serum, plasma or ear tissue samples and cell culture. | Kit components: 96 well microtitration plates divided in strips (12 x 8), Vials containing Positive Control sera ready to use, Vials containing Negative Control sera ready to use, Vials with conjugate 1 (MAb biotin conjugated)100x concentrated, Vials with conjugate 2 (Streptavidine-peroxidase conjugated) 100x concentrated, Bottles with washing solution 25x concentrated, Bottles containing diluent (DE01-01), Bottles containing diluent (DE01-05), Bottles containig substrate (TMB) ready to use, Bottles containing stoping solution, Bottles containing extraction Buffer 1x (Only ear tissue), Bottles containing extraction Buffer 5x (Only ear tissue) | 1. Read carefully the instructions for use. 2. Bring all reagents to room temperature (20°-25°C) prior to use. 3. Do not mix instructions or reagents from different kits. 4. Avoid any contamination of the reagents of the Kit. 5. Do not use components after expiration dates and do not mix components from different lots. 6. There should be no eating, drinking, or smoking where specimens or Kit reagents are being handle 7. Do not pipette by mouth. 8. Use a new tip for each serum sample. 9. For each utilisation of the Kit, positive and negative control sera must be tested in a systematic way. 10. Substrate must by handle whit care, it is very sensible to light and contamination. 11. Stop solution is a strong acid. Handle with care. | Store all plates and reagents between +2ºC and +8ºC. Once opened, control sera are stable for one month between +2ºC and +8ºC. In case that they are not going to be used in this period, we recommend to store them under –20ºC | This product should be used only by trained staff and in an appropriate laboratory setting.
12.BVD.K.2/5 | INgezim BVD DAS | Assay for Bovine viral diarrhoea virus p80/p125 antigen detection | 480 tests (5X 96 wells plate) | 807.2 | EUR | 1140 | Eurofins-technologies | Double antibody sandwhich immunoenzymatic assay for Bovine viral diarrhoea virus p80/p125 antigen detection in blood, serum, plasma or ear tissue samples and cell culture. | Kit components: 96 well microtitration plates divided in strips (12 x 8), Vials containing Positive Control sera ready to use, Vials containing Negative Control sera ready to use, Vials with conjugate 1 (MAb biotin conjugated)100x concentrated, Vials with conjugate 2 (Streptavidine-peroxidase conjugated) 100x concentrated, Bottles with washing solution 25x concentrated, Bottles containing diluent (DE01-01), Bottles containing diluent (DE01-05), Bottles containig substrate (TMB) ready to use, Bottles containing stoping solution, Bottles containing extraction Buffer 1x (Only ear tissue), Bottles containing extraction Buffer 5x (Only ear tissue) | 1. Read carefully the instructions for use. 2. Bring all reagents to room temperature (20°-25°C) prior to use. 3. Do not mix instructions or reagents from different kits. 4. Avoid any contamination of the reagents of the Kit. 5. Do not use components after expiration dates and do not mix components from different lots. 6. There should be no eating, drinking, or smoking where specimens or Kit reagents are being handle 7. Do not pipette by mouth. 8. Use a new tip for each serum sample. 9. For each utilisation of the Kit, positive and negative control sera must be tested in a systematic way. 10. Substrate must by handle whit care, it is very sensible to light and contamination. 11. Stop solution is a strong acid. Handle with care. | Store all plates and reagents between +2ºC and +8ºC. Once opened, control sera are stable for one month between +2ºC and +8ºC. In case that they are not going to be used in this period, we recommend to store them under –20ºC | This product should be used only by trained staff and in an appropriate laboratory setting.
12.BVD.K.3/2 | INgezim PESTIVIRUS Compac | Assay for the specific detection of antibodies to Ruminant Pestivirus (BVDV & BDV) in serum, milk and whey samples | 192 tests (2X 96 wells plate) | 242.4 | EUR | 378 | Eurofins-technologies | Immunoenzymatic assay for the specific detection of antibodies to Ruminant Pestivirus (BVDV & BDV) in serum, milk and whey samples. | Kit components: 96 well microtitration plates divided in strips (12 x 8), Vials containing Positive Control sera , Vials containing Negative Control sera, Vials containing Positive Control milk, Vials containing Negative Control milk, Vials with conjugate 1 100x concentrated to use in assay with sera (Mab anti p-80/p125), Vials with conjugate 2 100x concentrated to use in assay with milk (Mab anti bovine IgG), Bottles with washing solution 25x concentrated, Bottles containing diluent (DE01-01), Bottles containig substrate (TMB) ready to use, Bottles containing stoping solution | 1. Read carefully the instructions for use. 2. Bring all reagents to room temperature (20°-25°C) prior to use. 3. Do not mix instructions or reagents from different kits. 4. Avoid any contamination of the reagents of the Kit. 5. Do not use components after expiration dates and do not mix components from different lots. 6. There should be no eating, drinking, or smoking where specimens or Kit reagents are being handle 7. Do not pipette by mouth. 8. Use a new tip for each serum sample. 9. For each utilisation of the Kit, positive and negative control sera must be tested in a systematic way. 10. Substrate must by handle whit care, it is very sensible to light and contamination. 11. Stop solution is a strong acid. Handle with care. | Store all plates and reagents between +2ºC and +8ºC. Once opened, control sera are stable for one month between +2ºC and +8ºC. In case that they are not going to be used in this period, we recommend to store them under –20ºC | This product should be used only by trained staff and in an appropriate laboratory setting.
12.BVD.K.3/5 | INgezim PESTIVIRUS Compac | Assay for the specific detection of antibodies to Ruminant Pestivirus (BVDV & BDV) in serum, milk and whey samples | 480 tests (5X 96 wells plate) | 463.2 | EUR | 676 | Eurofins-technologies | Immunoenzymatic assay for the specific detection of antibodies to Ruminant Pestivirus (BVDV & BDV) in serum, milk and whey samples. | Kit components: 96 well microtitration plates divided in strips (12 x 8), Vials containing Positive Control sera , Vials containing Negative Control sera, Vials containing Positive Control milk, Vials containing Negative Control milk, Vials with conjugate 1 100x concentrated to use in assay with sera (Mab anti p-80/p125), Vials with conjugate 2 100x concentrated to use in assay with milk (Mab anti bovine IgG), Bottles with washing solution 25x concentrated, Bottles containing diluent (DE01-01), Bottles containig substrate (TMB) ready to use, Bottles containing stoping solution | 1. Read carefully the instructions for use. 2. Bring all reagents to room temperature (20°-25°C) prior to use. 3. Do not mix instructions or reagents from different kits. 4. Avoid any contamination of the reagents of the Kit. 5. Do not use components after expiration dates and do not mix components from different lots. 6. There should be no eating, drinking, or smoking where specimens or Kit reagents are being handle 7. Do not pipette by mouth. 8. Use a new tip for each serum sample. 9. For each utilisation of the Kit, positive and negative control sera must be tested in a systematic way. 10. Substrate must by handle whit care, it is very sensible to light and contamination. 11. Stop solution is a strong acid. Handle with care. | Store all plates and reagents between +2ºC and +8ºC. Once opened, control sera are stable for one month between +2ºC and +8ºC. In case that they are not going to be used in this period, we recommend to store them under –20ºC | This product should be used only by trained staff and in an appropriate laboratory setting.
12.BLV.K.3/2 | INgezim BLV COMPAC 2.0 | Assay for the specific detection of antibodies to bovine leukaemia virus in bovine serum or milk | 192 tests (2X 96 wells plate) | 180.8 | EUR | 295 | Eurofins-technologies | Blocking immunoenzymatic assay for the specific detection of antibodies to bovine leukaemia virus in bovine serum or milk | Kit components: 96 Well microtitration plates divided in 12 strips of 8 wells each; Vials of Positive Control Serum; Vials of Negative Control serum; Vials with Conjugate (100 x concentrated), Bottles with Washing Solution 25x concentrated, Bottles with diluent (DE04-01) ready to use, Bottles with substrate (TMB) ready to use , Bottles with Stop Solution | 1. Read carefully the instructions for use. 2. Bring all reagents to room temperature (20°-25°C) prior to use. 3. Do not mix instructions or reagents from different kits. 4. Avoid any contamination of the reagents of the Kit. 5. Do not use components after expiration dates and do not mix components from different lots. 6. There should be no eating, drinking, or smoking where specimens or Kit reagents are being handle 7. Do not pipette by mouth. 8. Use a new tip for each serum sample. 9. For each utilisation of the Kit, positive and negative control sera must be tested in a systematic way. 10. Substrate must by handle whit care, it is very sensible to light and contamination. 11. Stop solution is a strong acid. Handle with care. | Store all plates and reagents between +2ºC and +8ºC. Once opened, control sera are stable for one month between +2ºC and +8ºC. In case that they are not going to be used in this period, we recommend to store them under –20ºC | This product should be used only by trained staff and in an appropriate laboratory setting.
12.BLV.K.3/5 | INgezim BLV COMPAC 2.0 | Assay for the specific detection of antibodies to bovine leukaemia virus in bovine serum or milk | 480 tests (5X 96 wells plate) | 291.2 | EUR | 444 | Eurofins-technologies | Blocking immunoenzymatic assay for the specific detection of antibodies to bovine leukaemia virus in bovine serum or milk | Kit components: 96 Well microtitration plates divided in 12 strips of 8 wells each; Vials of Positive Control Serum; Vials of Negative Control serum; Vials with Conjugate (100 x concentrated), Bottles with Washing Solution 25x concentrated, Bottles with diluent (DE04-01) ready to use, Bottles with substrate (TMB) ready to use , Bottles with Stop Solution | 1. Read carefully the instructions for use. 2. Bring all reagents to room temperature (20°-25°C) prior to use. 3. Do not mix instructions or reagents from different kits. 4. Avoid any contamination of the reagents of the Kit. 5. Do not use components after expiration dates and do not mix components from different lots. 6. There should be no eating, drinking, or smoking where specimens or Kit reagents are being handle 7. Do not pipette by mouth. 8. Use a new tip for each serum sample. 9. For each utilisation of the Kit, positive and negative control sera must be tested in a systematic way. 10. Substrate must by handle whit care, it is very sensible to light and contamination. 11. Stop solution is a strong acid. Handle with care. | Store all plates and reagents between +2ºC and +8ºC. Once opened, control sera are stable for one month between +2ºC and +8ºC. In case that they are not going to be used in this period, we recommend to store them under –20ºC | This product should be used only by trained staff and in an appropriate laboratory setting.
11.PR2.K.1/2 | INgezim PRRS 2.0 | Immunoassay for the detection and quantification of antibodies specific for porcine respiratory and reproductive syndrome virus (European and American strains) in swine serum | 192 tests (2X 96 wells plate) | 313.6 | EUR | 474 | Eurofins-technologies | Enzymatic immunoassay for the detection and quantification of antibodies specific for porcine respiratory and reproductive syndrome virus (European and American strains) in swine serum | Kit components: 96 Well microtitration plates (divided into 12 strips of 8 wells each), Vials containing Positive Control serum, ready to use, Vials containing Negative Control serum, ready to use, Vials with peroxidase conjugate, ready to use, Bottles with Washing Solution 25x concentrated, Bottles with serum diluent (DE13-01) , Bottles with Substrate (TMB), Bottles with Stop Solution | 1. Read carefully the instructions for use. 2. Bring all reagents to room temperature (20°-25°C) prior to use. 3. Do not mix instructions or reagents from different kits. 4. Avoid any contamination of the reagents of the Kit. 5. Do not use components after expiration dates and do not mix components from different lots. 6. There should be no eating, drinking, or smoking where specimens or Kit reagents are being handle 7. Do not pipette by mouth. 8. Use a new tip for each serum sample. 9. For each utilisation of the Kit, positive and negative control sera must be tested in a systematic way. 10. Substrate must by handle whit care, it is very sensible to light and contamination. 11. Stop solution is a strong acid. Handle with care. | Store all plates and reagents between +2ºC and +8ºC. Once opened, control sera are stable for one month between +2ºC and +8ºC. In case that they are not going to be used in this period, we recommend to store them under –20ºC | This product should be used only by trained staff and in an appropriate laboratory setting.
11.PR2.K.1/5 | INgezim PRRS 2.0 | Immunoassay for the detection and quantification of antibodies specific for porcine respiratory and reproductive syndrome virus (European and American strains) in swine serum | 480 tests (5X 96 wells plate) | 613.6 | EUR | 879 | Eurofins-technologies | Enzymatic immunoassay for the detection and quantification of antibodies specific for porcine respiratory and reproductive syndrome virus (European and American strains) in swine serum | Kit components: 96 Well microtitration plates (divided into 12 strips of 8 wells each), Vials containing Positive Control serum, ready to use, Vials containing Negative Control serum, ready to use, Vials with peroxidase conjugate, ready to use, Bottles with Washing Solution 25x concentrated, Bottles with serum diluent (DE13-01) , Bottles with Substrate (TMB), Bottles with Stop Solution | 1. Read carefully the instructions for use. 2. Bring all reagents to room temperature (20°-25°C) prior to use. 3. Do not mix instructions or reagents from different kits. 4. Avoid any contamination of the reagents of the Kit. 5. Do not use components after expiration dates and do not mix components from different lots. 6. There should be no eating, drinking, or smoking where specimens or Kit reagents are being handle 7. Do not pipette by mouth. 8. Use a new tip for each serum sample. 9. For each utilisation of the Kit, positive and negative control sera must be tested in a systematic way. 10. Substrate must by handle whit care, it is very sensible to light and contamination. 11. Stop solution is a strong acid. Handle with care. | Store all plates and reagents between +2ºC and +8ºC. Once opened, control sera are stable for one month between +2ºC and +8ºC. In case that they are not going to be used in this period, we recommend to store them under –20ºC | This product should be used only by trained staff and in an appropriate laboratory setting.
12.PTB.K.1/2 | INgezim Paratuberculosis | Assay for detection of specific antibodies to M.avium partuberculosis in ruminant samples (serum and milk). | 192 tests (2X 96 wells plate) | 180.8 | EUR | 295 | Eurofins-technologies | Indirect immunoenzymatic assay for detection of specific antibodies to M.avium partuberculosis in ruminant samples (serum and milk). | Kit components: 96 well microtitration plates divided in strips (12 x 8) coated with MAP antigen, Positive Control, Negative Control, M.phlei sample diluent (DEMP-01), Peroxidase conjugate ready to use, 25x concentrated washing solution, Bottles with substrate, Stop solution ready to use | 1. Read carefully the instructions for use. 2. Bring all reagents to room temperature (20°-25°C) prior to use. 3. Do not mix instructions or reagents from different kits. 4. Avoid any contamination of the reagents of the Kit. 5. Do not use components after expiration dates and do not mix components from different lots. 6. There should be no eating, drinking, or smoking where specimens or Kit reagents are being handle 7. Do not pipette by mouth. 8. Use a new tip for each serum sample. 9. For each utilisation of the Kit, positive and negative control sera must be tested in a systematic way. 10. Substrate must by handle whit care, it is very sensible to light and contamination. 11. Stop solution is a strong acid. Handle with care. | Store all plates and reagents between +2ºC and +8ºC. Once opened, control sera are stable for one month between +2ºC and +8ºC. In case that they are not going to be used in this period, we recommend to store them under –20ºC | This product should be used only by trained staff and in an appropriate laboratory setting.
12.PTB.K.1/5 | INgezim Paratuberculosis | Assay for detection of specific antibodies to M.avium partuberculosis in ruminant samples (serum and milk). | 480 tests (5X 96 wells plate) | 291.2 | EUR | 445 | Eurofins-technologies | Indirect immunoenzymatic assay for detection of specific antibodies to M.avium partuberculosis in ruminant samples (serum and milk). | Kit components: 96 well microtitration plates divided in strips (12 x 8) coated with MAP antigen, Positive Control, Negative Control, M.phlei sample diluent (DEMP-01), Peroxidase conjugate ready to use, 25x concentrated washing solution, Bottles with substrate, Stop solution ready to use | 1. Read carefully the instructions for use. 2. Bring all reagents to room temperature (20°-25°C) prior to use. 3. Do not mix instructions or reagents from different kits. 4. Avoid any contamination of the reagents of the Kit. 5. Do not use components after expiration dates and do not mix components from different lots. 6. There should be no eating, drinking, or smoking where specimens or Kit reagents are being handle 7. Do not pipette by mouth. 8. Use a new tip for each serum sample. 9. For each utilisation of the Kit, positive and negative control sera must be tested in a systematic way. 10. Substrate must by handle whit care, it is very sensible to light and contamination. 11. Stop solution is a strong acid. Handle with care. | Store all plates and reagents between +2ºC and +8ºC. Once opened, control sera are stable for one month between +2ºC and +8ºC. In case that they are not going to be used in this period, we recommend to store them under –20ºC | This product should be used only by trained staff and in an appropriate laboratory setting.
12.BB2.K.1/2 | INgezim BRUCELLA BOVINA 2.0 | Assay for the specific detection of antibodies to Brucella in bovine serum (individually and in pools | 192 tests (2X 96 wells plate) | 242.4 | EUR | 378 | Eurofins-technologies | Indirect immunoenzymatic assay for the specific detection of antibodies to Brucella in bovine serum (individually and in pools | Kit components: 96 well microtitration plates, Positive Control serum for Brucella ready to use, Negative Control serum for Brucella ready to use, Negative Control serum for Brucella ready to use, Peroxidase- Conjugate specific for bovine IgG(100x), Bottles with washing solution 25x concentrated, Bottles containing diluent (DE14-01), Bottles containing substrate (TMB) ready to use, Bottles containing stop solution | 1. Read carefully the instructions for use. 2. Bring all reagents to room temperature (20°-25°C) prior to use. 3. Do not mix instructions or reagents from different kits. 4. Avoid any contamination of the reagents of the Kit. 5. Do not use components after expiration dates and do not mix components from different lots. 6. There should be no eating, drinking, or smoking where specimens or Kit reagents are being handle 7. Do not pipette by mouth. 8. Use a new tip for each serum sample. 9. For each utilisation of the Kit, positive and negative control sera must be tested in a systematic way. 10. Substrate must by handle whit care, it is very sensible to light and contamination. 11. Stop solution is a strong acid. Handle with care. | Store all plates and reagents between +2ºC and +8ºC. Once opened, control sera are stable for one month between +2ºC and +8ºC. In case that they are not going to be used in this period, we recommend to store them under –20ºC | This product should be used only by trained staff and in an appropriate laboratory setting.
12.BB2.K.1/5 | INgezim BRUCELLA BOVINA 2.0 | Assay for the specific detection of antibodies to Brucella in bovine serum (individually and in pools | 480 tests (5X 96 wells plate) | 463.2 | EUR | 676 | Eurofins-technologies | Indirect immunoenzymatic assay for the specific detection of antibodies to Brucella in bovine serum (individually and in pools | Kit components: 96 well microtitration plates, Positive Control serum for Brucella ready to use, Negative Control serum for Brucella ready to use, Negative Control serum for Brucella ready to use, Peroxidase- Conjugate specific for bovine IgG(100x), Bottles with washing solution 25x concentrated, Bottles containing diluent (DE14-01), Bottles containing substrate (TMB) ready to use, Bottles containing stop solution | 1. Read carefully the instructions for use. 2. Bring all reagents to room temperature (20°-25°C) prior to use. 3. Do not mix instructions or reagents from different kits. 4. Avoid any contamination of the reagents of the Kit. 5. Do not use components after expiration dates and do not mix components from different lots. 6. There should be no eating, drinking, or smoking where specimens or Kit reagents are being handle 7. Do not pipette by mouth. 8. Use a new tip for each serum sample. 9. For each utilisation of the Kit, positive and negative control sera must be tested in a systematic way. 10. Substrate must by handle whit care, it is very sensible to light and contamination. 11. Stop solution is a strong acid. Handle with care. | Store all plates and reagents between +2ºC and +8ºC. Once opened, control sera are stable for one month between +2ºC and +8ºC. In case that they are not going to be used in this period, we recommend to store them under –20ºC | This product should be used only by trained staff and in an appropriate laboratory setting.
11.PPV.K.3/2 | INgezim PPV COMPAC | Assay for detection ofantibodies against porcine parvovirus in pig serum | 192 tests (2X 96 wells plate) | 256 | EUR | 396 | Eurofins-technologies | Enzyme immunoassay for detection of antibodies against porcine parvovirus in pig serum | Kit components: 96 Well microtitration strip plates divided in 12 strips of 8 wells each, Vials with positive control serum , Vials with negative control , Vials with peroxidasa conjugate 100x concentrated, Bottles with Washing Solution 25x concentrated, Bottles with diluent ready to use , Bottles with Substrate, Bottles with Stop Solution | 1. Read carefully the instructions for use. 2. Bring all reagents to room temperature (20°-25°C) prior to use. 3. Do not mix instructions or reagents from different kits. 4. Avoid any contamination of the reagents of the Kit. 5. Do not use components after expiration dates and do not mix components from different lots. 6. There should be no eating, drinking, or smoking where specimens or Kit reagents are being handle 7. Do not pipette by mouth. 8. Use a new tip for each serum sample. 9. For each utilisation of the Kit, positive and negative control sera must be tested in a systematic way. 10. Substrate must by handle whit care, it is very sensible to light and contamination. 11. Stop solution is a strong acid. Handle with care. | Store all plates and reagents between +2ºC and +8ºC. Once opened, control sera are stable for one month between +2ºC and +8ºC. In case that they are not going to be used in this period, we recommend to store them under –20ºC | This product should be used only by trained staff and in an appropriate laboratory setting.
11.PPV.K.3/5 | INgezim PPV COMPAC | Assay for detection ofantibodies against porcine parvovirus in pig serum | 480 tests (5X 96 wells plate) | 485.6 | EUR | 706 | Eurofins-technologies | Enzyme immunoassay for detection of antibodies against porcine parvovirus in pig serum | Kit components: 96 Well microtitration strip plates divided in 12 strips of 8 wells each, Vials with positive control serum , Vials with negative control , Vials with peroxidasa conjugate 100x concentrated, Bottles with Washing Solution 25x concentrated, Bottles with diluent ready to use , Bottles with Substrate, Bottles with Stop Solution | 1. Read carefully the instructions for use. 2. Bring all reagents to room temperature (20°-25°C) prior to use. 3. Do not mix instructions or reagents from different kits. 4. Avoid any contamination of the reagents of the Kit. 5. Do not use components after expiration dates and do not mix components from different lots. 6. There should be no eating, drinking, or smoking where specimens or Kit reagents are being handle 7. Do not pipette by mouth. 8. Use a new tip for each serum sample. 9. For each utilisation of the Kit, positive and negative control sera must be tested in a systematic way. 10. Substrate must by handle whit care, it is very sensible to light and contamination. 11. Stop solution is a strong acid. Handle with care. | Store all plates and reagents between +2ºC and +8ºC. Once opened, control sera are stable for one month between +2ºC and +8ºC. In case that they are not going to be used in this period, we recommend to store them under –20ºC | This product should be used only by trained staff and in an appropriate laboratory setting.
12.BTV.K.3/2 | INgezim BTV COMPAC 2.0 | Assay for detection of antibodies specific for Blue Tongue virus in sera individually assayed | 192 tests (2X 96 wells plate) | 242.4 | EUR | 378 | Eurofins-technologies | Blocking enzymatic immunoassay for detection of antibodies specific for Blue Tongue virus in sera individually assayed. | Kit components: 96 Well microtitration plates, Vials of Positive Control Serum for BTV, Vials of Negative Control serum for BTV, Vials with Conjugate READY TO USE (Mab anti BTV-HRPO), Bottles with Washing Solution 25x concentrated, Bottles with serum diluent (DE01-01) ready to use, Bottles with substrate (TMB) ready to use, Bottles with Stop Solution | 1. Read carefully the instructions for use. 2. Bring all reagents to room temperature (20°-25°C) prior to use. 3. Do not mix instructions or reagents from different kits. 4. Avoid any contamination of the reagents of the Kit. 5. Do not use components after expiration dates and do not mix components from different lots. 6. There should be no eating, drinking, or smoking where specimens or Kit reagents are being handle 7. Do not pipette by mouth. 8. Use a new tip for each serum sample. 9. For each utilisation of the Kit, positive and negative control sera must be tested in a systematic way. 10. Substrate must by handle whit care, it is very sensible to light and contamination. 11. Stop solution is a strong acid. Handle with care. | Store all plates and reagents between +2ºC and +8ºC. Once opened, control sera are stable for one month between +2ºC and +8ºC. In case that they are not going to be used in this period, we recommend to store them under –20ºC | This product should be used only by trained staff and in an appropriate laboratory setting.
12.BTV.K.3/5 | INgezim BTV COMPAC 2.0 | Assay for detection of antibodies specific for Blue Tongue virus in sera individually assayed | 480 tests (5X 96 wells plate) | 463.2 | EUR | 676 | Eurofins-technologies | Blocking enzymatic immunoassay for detection of antibodies specific for Blue Tongue virus in sera individually assayed. | Kit components: 96 Well microtitration plates, Vials of Positive Control Serum for BTV, Vials of Negative Control serum for BTV, Vials with Conjugate READY TO USE (Mab anti BTV-HRPO), Bottles with Washing Solution 25x concentrated, Bottles with serum diluent (DE01-01) ready to use, Bottles with substrate (TMB) ready to use, Bottles with Stop Solution | 1. Read carefully the instructions for use. 2. Bring all reagents to room temperature (20°-25°C) prior to use. 3. Do not mix instructions or reagents from different kits. 4. Avoid any contamination of the reagents of the Kit. 5. Do not use components after expiration dates and do not mix components from different lots. 6. There should be no eating, drinking, or smoking where specimens or Kit reagents are being handle 7. Do not pipette by mouth. 8. Use a new tip for each serum sample. 9. For each utilisation of the Kit, positive and negative control sera must be tested in a systematic way. 10. Substrate must by handle whit care, it is very sensible to light and contamination. 11. Stop solution is a strong acid. Handle with care. | Store all plates and reagents between +2ºC and +8ºC. Once opened, control sera are stable for one month between +2ºC and +8ºC. In case that they are not going to be used in this period, we recommend to store them under –20ºC | This product should be used only by trained staff and in an appropriate laboratory setting.
11.CIR.K.2 | INgezim PCV DAS | Assay for Control of the viral load of porcine Circovirus type II in vaccines by titration. | 96 tests (1X 96 wells plate) | 401.6 | EUR | 593 | Eurofins-technologies | Double antibody sandwhich enzymatic immunoassay for Control of the viral load of porcine Circovirus type II in vaccines by titration. | Kit components: 96 Well microtitration plates (divides in 12 strips of 8 wells each) , Positive Control (Ready to use), Negative Control (Ready to use), Vials with Conjugate ready to use (Mab anti-vp2-HRPO), Bottles with Washing Solution 25x concentrated, Bottles with serum diluent (DE01-05) (5x concentrated) , Bottles with substrate (TMB) ready to use, Bottles with Stop Solution | 1. Read carefully the instructions for use. 2. Bring all reagents to room temperature (20°-25°C) prior to use. 3. Do not mix instructions or reagents from different kits. 4. Avoid any contamination of the reagents of the Kit. 5. Do not use components after expiration dates and do not mix components from different lots. 6. There should be no eating, drinking, or smoking where specimens or Kit reagents are being handle 7. Do not pipette by mouth. 8. Use a new tip for each serum sample. 9. For each utilisation of the Kit, positive and negative control sera must be tested in a systematic way. 10. Substrate must by handle whit care, it is very sensible to light and contamination. 11. Stop solution is a strong acid. Handle with care. | Store all plates and reagents between +2ºC and +8ºC. Once opened, control sera are stable for one month between +2ºC and +8ºC. In case that they are not going to be used in this period, we recommend to store them under –20ºC | This product should be used only by trained staff and in an appropriate laboratory setting.
11.CIR.K.2/2 | INgezim PCV DAS | Assay for Control of the viral load of porcine Circovirus type II in vaccines by titration. | 192 tests (2X 96 wells plate) | 679.2 | EUR | 967 | Eurofins-technologies | Double antibody sandwhich enzymatic immunoassay for Control of the viral load of porcine Circovirus type II in vaccines by titration. | Kit components: 96 Well microtitration plates (divides in 12 strips of 8 wells each) , Positive Control (Ready to use), Negative Control (Ready to use), Vials with Conjugate ready to use (Mab anti-vp2-HRPO), Bottles with Washing Solution 25x concentrated, Bottles with serum diluent (DE01-05) (5x concentrated) , Bottles with substrate (TMB) ready to use, Bottles with Stop Solution | 1. Read carefully the instructions for use. 2. Bring all reagents to room temperature (20°-25°C) prior to use. 3. Do not mix instructions or reagents from different kits. 4. Avoid any contamination of the reagents of the Kit. 5. Do not use components after expiration dates and do not mix components from different lots. 6. There should be no eating, drinking, or smoking where specimens or Kit reagents are being handle 7. Do not pipette by mouth. 8. Use a new tip for each serum sample. 9. For each utilisation of the Kit, positive and negative control sera must be tested in a systematic way. 10. Substrate must by handle whit care, it is very sensible to light and contamination. 11. Stop solution is a strong acid. Handle with care. | Store all plates and reagents between +2ºC and +8ºC. Once opened, control sera are stable for one month between +2ºC and +8ºC. In case that they are not going to be used in this period, we recommend to store them under –20ºC | This product should be used only by trained staff and in an appropriate laboratory setting.